## MT-310
Command MT310 | Additional commands | Returned answer | Additional command | Command explained
RPE
>PM:ID:MT-310:RPE:INITIATE:1:CRC:#013#010 |  | >MP:ID:MT-310:RPE:INITIATED:1:CRC:#013#010
>PM:ID:MT-310:RPE:MEAS(1)¦(2):1:CRC:#013#010 | 1. 2W, 2. 4W | >MP:ID:MT-310:RPE:RESULT_RESISTANCE:1:CRC:#013#010
>PM:ID:MT-310:RPE:CLAMP_MEAS(1)¦(2):1:CRC:#013#010 | 1. 2W+CLAMP, 2. 4W+CLAMP | >MP:ID:MT-310:RPE:RESULT(1)&(2)&(3):1:CRC:#013#010 | 1. I_CLAMP, 2. RPE_TOT, 3. I_MEAS
>PM:ID:MT-310:RPE:CURRENT(1)¦(2)¦(3):1:CRC:#013#010 | 1. 0.2A, 2. 10A, 3. 25A
>PM:ID:MT-310:RPE:MODE(1)¦(2):1:CRC:#013#010 | 1.MAN, 2. AUTO | >MP:ID:MT-310:RPE:AUTO_STARTED:1:CRC:#013#010
|  | >MP:ID:MT-310:RPE:EVENT(1)¦(2)¦(3)¦(4):1:CRC:#013#010 | 1. EXTERNAL_VOLTAGE, 2. EXTERNAL_SENSE_VOLTAGE, 3. END_EXTERNAL_VOLTAGE, 4. BAD_FUSE_F32
>PM:ID:MT-310:RPE:START:1:CRC:#013#010 |  | >MP:ID:MT-310:RPE:STARTED:1:CRC:#013#010
>PM:ID:MT-310:RPE:STOP:1:CRC:#013#010 |  | >MP:ID:MT-310:RPE:STOPPED:1:CRC:#013#010
LOOP
>PM:ID:MT-310:LOOP:INITIATE:1:CRC:#013#010 |  | >MP:ID:MT-310:LOOP:INITIATED:1:CRC:#013#010
>PM:ID:MT-310:LOOP:MEAS_STD(1)¦(2):1:CRC:#013#010 | 1. ZLN, 2. ZLPE, 3. ZLL
>PM:ID:MT-310:LOOP:MEAS_H(1)¦(2):1:CRC:#013#010 | 1. ZLN, 2. ZLPE, 3. ZLL
>PM:ID:MT-310:LOOP:MEAS_RA:1:CRC:#013#010
>PM:ID:MT-310:LOOP:MODE_RA(1)¦(2):1:CRC:#013#010 | 1. L/N/PE, 2. L/PE/PE
>PM:ID:MT-310:LOOP:CURRENT_RA(1)¦(2):1:CRC:#013#010 | 1. 1000mA, 2. 10mA
>PM:ID:MT-310:LOOP:MEAS_ULOW:1:CRC:#013#010
>PM:ID:MT-310:LOOP:ULOW_ILOAD(1):1:CRC:#013#010 | 1. ILOAD IN AMPERS
>MP:ID:MT-310:LOOP:RESULT_IMPEDANCE:1:CRC:#013#010
>MP:ID:MT-310:LOOP:MEASURED_VOLTAGE:1:CRC:#013#010
>PM:ID:MT-310:LOOP:START:1:CRC:#013#010 |  | >MP:ID:MT-310:LOOP:STARTED:1:CRC:#013#010
>PM:ID:MT-310:LOOP:STOP:1:CRC:#013#010 |  | >MP:ID:MT-310:LOOP:STOPPED:1:CRC:#013#010
UDROP
>PM:ID:MT-310:UDROP:INITIATE:1:CRC:#013#010 |  | >MP:ID:MT-310:UDROP:INITIATED:1:CRC:#013#010
>PM:ID:MT-310:UDROP:ACC(1)¦(2):1:CRC:#013#010 | 1. ZL/N, 2. ZL/N-H
>PM:ID:MT-310:UDROP:CURRENT(1):1:CRC:#013#010 | 1. IN AMPERS (2A - 400A)
|  | >MP:ID:MT-310:UDROP:RESULT(1)&(2):1:CRC:#013#010 | 1. IMPEDANCE, 2. VOLTAGE
>PM:ID:MT-310:UDROP:START:1:CRC:#013#010 |  | >MP:ID:MT-310:UDROP:STARTED:1:CRC:#013#010
>PM:ID:MT-310:UDROP:STOP:1:CRC:#013#010 |  | >MP:ID:MT-310:UDROP:STOPPED:1:CRC:#013#010
RCD
>PM:ID:MT-310:RCD:INITIATE:1:CRC:#013#010 |  | >MP:ID:MT-310:RCD:INITIATED:1:CRC:#013#010
>PM:ID:MT-310:RCD:MEAS(1)¦(2)¦(3)¦(4):1:CRC:#013#010 | 1. UC, 2. RAMP, 3. t, 4. AUTO
>PM:ID:MT-310:RCD:TYPE(1):1:CRC:#013#010
>PM:ID:MT-310:RCD:CURRENT(1):1:CRC:#013#010 | 1.IN mA (6 - 1000)
|  | >MP:ID:MT-310:RCD:MEAS_INIT(1)&(2)&(3):1:CRC:#013#010 | 1. UL/N, 2. UL/PE, 3. UN/PE
|  | >MP:ID:MT-310:RCD:RAMP_RESULT(1)&(2):1:CRC:#013#010 | 1. TRIPOUT_TIME, 2. TRIPOUT_CURRENT
|  | >MP:ID:MT-310:RCD:UC_RESULT(1)&(2):1:CRC:#013#010 | 1. Uc, 2. RA
>MP:ID:MT-310:RCD:SWITCH_ON:1:CRC:#013#010
|  | >MP:ID:MT-310:RCD:AUTO_RESULT(1):1:CRC:#013#010 | 1. TRIPOUT TIMES
|  | >MP:ID:MT-310:RCD:EVENT(1):1:CRC:#013#010 | 1. ERRORs
>PM:ID:MT-310:RCD:START:1:CRC:#013#010 |  | >MP:ID:MT-310:RCD:STARTED:1:CRC:#013#010
>PM:ID:MT-310:RCD:STOP:1:CRC:#013#010 |  | >MP:ID:MT-310:RCD:STOPPED:1:CRC:#013#010
RISO
>PM:ID:MT-310:RISO:INITIATE:1:CRC:#013#010 |  | >MP:ID:MT-310:ISO:INITIATED:1:CRC:#013#010
>PM:ID:MT-310:RISO:MODE(1)¦(2):1:CRC:#013#010 | 1. STEP, 2. RAMP
>PM:ID:MT-310:RISO:UN(1):1:CRC:#013#010 | 1. IN VOLTS
>PM:ID:MT-310:RISO:USTART(1):1:CRC:#013#010 | 1. IN VOLTS
>PM:ID:MT-310:RISO:USTOP(1):1:CRC:#013#010 | 1. IN VOLTS
|  | >MP:ID:MT-310:RISO:STEP_RESULT(1)&(2):1:CRC:#013#010 | 1. RESISTANCE, 2. VOLTAGE
|  | >MP:ID:MT-310:RISO:RAMP_RESULT(1)&(2):1:CRC:#013#010 | 1. RAMP_RESULT, 2. VOLTAGE
|  | >MP:ID:MT-310:RISO:EVENT(1):1:CRC:#013#010 | 1. ERRORs
>PM:ID:MT-310:RISO:START:1:CRC:#013#010 |  | >MP:ID:MT-310:RISO:STARTED:1:CRC:#013#010
>PM:ID:MT-310:RISO:STOP:1:CRC:#013#010 |  | >MP:ID:MT-310:RISO:STOPPED:1:CRC:#013#010
URES
>PM:ID:MT-310:URES:INITIATE:1:CRC:#013#010 |  | >MP:ID:MT-310:URES:INITIATED:1:CRC:#013#010
>PM:ID:MT-310:URES:MEAS(1)¦(2):1:CRC:#013#010 | 1. URES, 2. TRES
>PM:ID:MT-310:URES:MODE(1)¦(2):1:CRC:#013#010 | 1. LINEAR, 2. NONLINEAR
>PM:ID:MT-310:URES:TRES_LIMIT(1):1:CRC:#013#010 | 1. VOLTAGE LIMIT
|  | >MP:ID:MT-310:URES:URES_RESULT(1):1:CRC:#013#010 | 1. IN VOLTS
|  | >MP:ID:MT-310:URES:TRES_RESULT(1):1:CRC:#013#010 | 1. IN SECONDS
|  | >MP:ID:MT-310:URES:UIN(1):1:CRC:#013#010 | 1. VOLTAGE_IN
|  | >MP:ID:MT-310:URES:BUTTON_PRESSED(1)¦(2)¦(3)¦(4):1:CRC:#013#010 | 1. READY ON, 2. READY OFF, 3. DISCONNECT UUT, 4. END TEST
|  | >MP:ID:MT-310:URES:EVENT(1):1:CRC:#013#010 | 1. ERRORs
>PM:ID:MT-310:URES:USTART(1):1:CRC:#013#010 |  | >MP:ID:MT-310:URES:STARTED:1:CRC:#013#010
>PM:ID:MT-310:URES:USTOP(1):1:CRC:#013#010 |  | >MP:ID:MT-310:URES:STOPPED:1:CRC:#013#010
ILEAK / IL / IT
>PM:ID:MT-310:ILEAK:INITIATE:1:CRC:#013#010 |  | >MP:ID:MT-310:ILEAK:INITIATED:1:CRC:#013#010
>PM:ID:MT-310:ILEAK:MEAS:1:CRC:#013#010
>PM:ID:MT-310:ILEAK:TIMER:1:CRC:#013#010
|  | >MP:ID:MT-310:ILEAK:RESULT(1):1:CRC:#013#010 | 1. I_LEAK P/PE, W/PE; CLAMP AND I_TOUCH [mA]
|  | >MP:ID:MT-310:ILEAK:ILOAD_RESULT(1)&(2)&(3):1:CRC:#013#010 | 1. CURRENT, 2. FREQ, 3. THD
>PM:ID:MT-310:ILEAK:USTART(1):1:CRC:#013#010 |  | >MP:ID:MT-310:ILEAK:STARTED:1:CRC:#013#010
>PM:ID:MT-310:ILEAK:USTOP(1):1:CRC:#013#010 |  | >MP:ID:MT-310:ILEAK:STOPPED:1:CRC:#013#010
U / P
>PM:ID:MT-310:UP:INITIATE:1:CRC:#013#010 |  | >MP:ID:MT-310:UP:INITIATED:1:CRC:#013#010
>PM:ID:MT-310:UP:MEAS:1:CRC:#013#010
>PM:ID:MT-310:UP:TIMER:1:CRC:#013#010
>PM:ID:MT-310:UP:CONNECTION:1:CRC:#013#010
|  | >MP:ID:MT-310:UP:RESULT_ULN(1)&(2):1:CRC:#013#010 | 1. VOLTAGE, 2. FREQ
|  | >MP:ID:MT-310:UP:2W_CON_RESULTS(1)&(2):1:CRC:#013#010 | 1. VOLTAGE, 2. THD
|  | >MP:ID:MT-310:UP:3W_CON_RESULTS(1)&(2):1:CRC:#013#010 | 1. VOLTAGE, 2. THD
|  | >MP:ID:MT-310:UP:4W_CON_RESULTS(1)&(2):1:CRC:#013#010 | 1. VOLTAGE, 2. THD
>MP:ID:MT-310:UP:3PSEQ_RESULTS:1:CRC:#013#010
>MP:ID:MT-310:UP:POWER_RESULTS:1:CRC:#013#010
>MP:ID:MT-310:UP:AC/DC_RESULT:1:CRC:#013#010
|  | >MP:ID:MT-310:UP:VOLTAGE_RESULTS(1)¦(2)¦(3)¦(4)¦(5):1:CRC:#013#010 | 1. PELV, 2. SELV, 3. WELD RMS, 4. WELD PEAK, 5. CONTROL
>MP:ID:MT-310:UP:EVENT:1:CRC:#013#010
>PM:ID:MT-310:UP:USTART(1):1:CRC:#013#010 |  | >MP:ID:MT-310:UP:STARTED:1:CRC:#013#010
>PM:ID:MT-310:UP:USTOP(1):1:CRC:#013#010 |  | >MP:ID:MT-310:UP:STOPPED:1:CRC:#013#010

## MT300-TFA
Command MT310 to MT300-TFA | Additional commands | Returned answer | Additional command | Command explained | Aditional parameter | Posible values
CABLE EXTENSIONS
MAIN FUNCTION CALL
[5 empty] | Phase system | "1P_SYS" | "3P_SYS"
>PA:ID:MT-300-TFA:CORD:INIT:(1.):1:CRC:#013#010 | 1. Cable type: "1_P" or "3_P" | >AP:ID:MT-300-TFA:CORD:INITIATED::1:CRC:#013#010 |  | init CORD test, runs mains test and return its result | Position of L conductor | "L" | "N"
>PA:ID:MT-300-TFA:CORD:START_C_W:(1.):1:CRC:#013#010 | 1. Cable type: "1_P" or "3_P" | >AP:ID:MT-300-TFA:CORD:CW_STARTED::1:CRC:#013#010 |  | start Correct wiring for CORD measurement | CW failures | L1_L2_CRIS | L1_L3_CRIS | L2_L3_CRIS | L1_N_CRIS | L1_PE_CRIS | L2_N_CRIS | L2_PE_CRIS | L3_N_CRIS | L3_PE_CRIS | N_PE_CRIS | L1_L2_SHOR | L1_L3_SHOR | L2_L3_SHOR | L1_N_SHOR | L1_PE_SHOR | L2_N_SHOR | L2_PE_SHOR | L3_N_SHOR | L3_PE_SHOR | N_PE_SHOR | MULTIFLT | CROS_N_SHOR | CROS_N_OPEN | SHOR_N_OPEN | MULTI_SHOR | MULTI_CROS | MULTI_OPEN | FAIL | PASS | L1_OPEN | L2_OPEN | L3_OPEN | N_OPEN | PE_OPEN
|  | >AP:ID:MT-300-TFA:CORD:CW,(1)::1:CRC:#013#010 | 1. CW failures | Transmitt Cord Correct wiring results. When return message is recieved, measurement has finished. | Mains status | "OK" | "PE_DISC" | "N_DISC" | "WRONG_CON"
>PA:ID:MT-300-TFA:CORD:START_CONT::1:CRC:#013#010 |  | >AP:ID:MT-300-TFA:CORD:CONT_STARTED::1:CRC:#013#010 |  | start Continuity CORD measurement | Riso one phase to PE fault | "L1-PE_F" | "L2-PE_F" | "L3-PE_F" | "N-PE_F"
|  | >AP:ID:MT-300-TFA:CORD:CONT¦(1),(2)¦(3)::1:CRC:#013#010 | 1. Pass, 2. Measured wire, 3. Value in ohms %.3f | Transmitt Cord Continuity results. When return message is recieved, measurement has finished. | Riso phase to phase fault | "L1-N_F" | "L2-N_F" | "L3-N_F" | "L1-L3_F" | "L1-L2_F" | "L2-L3_F"
>PA:ID:MT-300-TFA:CORD:START_ALL-PE::1:CRC:#013#010 |  | >AP:ID:MT-300-TFA:CORD:ALL-PE_STARTED::1:CRC:#013#010 |  | start All Phases to PE CORD measurement | Measured wire | "L1" | "L2" | "L3" | "N" | "PE"
|  | >AP:ID:MT-300-TFA:CORD:RISO_ALL-PE¦(1)::1:CRC:#013#010 | 1. Pass | Transmitt Cord All Phases to PE result. When return message is recieved, measurement has finished. | Pass | "PASS" | "FAIL"
>PA:ID:MT-300-TFA:CORD:START_ONE-PE::1:CRC:#013#010 |  | >AP:ID:MT-300-TFA:CORD:ONE-PE_STARTED::1:CRC:#013#010 |  | start Phases to PE CORD measurement | URES Phase voltage to measure | "L1-PE" | "L2-PE" | "L3-PE" | "L1-N" | "L2-N" | "L3-N"
|  | >AP:ID:MT-300-TFA:CORD:RISO_ONE-PE¦(1),(2)::1:CRC:#013#010 | 1. Pass, 2. Riso one phase to PE fault-s | Transmitt Cord Riso Phases to PE result (up to 4 fault conditions). When return message is recieved, measurement has finished.
>PA:ID:MT-300-TFA:CORD:START_PH_PH::1:CRC:#013#010 |  | >AP:ID:MT-300-TFA:CORD:PH-PH_STARTED::1:CRC:#013#010 |  | start Phases to Phase CORD measurement
|  | >AP:ID:MT-300-TFA:CORD:RISO_PH-PH¦(1),(2)::1:CRC:#013#010 | 1. Pass, 2. Riso phase to phase fault-s | Transmitt Cord Riso Phases to Phase result (up to 6 fault conditions). When return message is recieved, measurement has finished.
>PA:ID:MT-300-TFA:CORD:STOP::1:CRC:#013#010 |  | >AP:31:MT-300-TFA:CORD:STOPPED::1:CRC:#013#010 |  | stop CORD meaurement
INTERMEDIATE COMMANDS
>PA:ID:MT-300-TFA:CORD:RPE_L_STARTED::1:CRC: |  | >AP:ID:MT-300-TFA:CORD:RPE_L_START::1:CRC:#013#010 |  | Start RPE low current measurement
>PA:ID:MT-300-TFA:CORD:RPE_H_STARTED::1:CRC: |  | >AP:ID:MT-300-TFA:CORD:RPE_H_START::1:CRC:#013#010 |  | Start RPE high current measurement
>PA:ID:MT-300-TFA:CORD:RPE_RES¦(1.)::1:CRC: | 1. RPE in ohms %.2f | >AP:ID:MT-300-TFA:CORD:RPE_RES_GET:(1):1:CRC:#013#010 | 1. Measured connection et.: "L1_L2" | Request RPE resistance. Parameter (1) just for info and simulation.
>PA:ID:MT-300-TFA:CORD:RPE_STOPPED::1:CRC: |  | >AP:ID:MT-300-TFA:CORD:RPE_STOP::1:CRC:#013#010 |  | Stop RPE measurement
>PA:ID:MT-300-TFA:CORD:RISO_STARTED::1:CRC: |  | >AP:ID:MT-300-TFA:CORD:RISO_START::1:CRC:#013#010 |  | Start RPE measurement
>PA:ID:MT-300-TFA:CORD:RISO_RES¦(1.)::1:CRC: | 1. RISO in Mohms %.3f | >AP:ID:MT-300-TFA:CORD:RISO_RES_GET:(1):1:CRC:#013#010 | 1. Measured connection et.: "L1_L2" | Request RPE resistance. Parameter (1) just for info and simulation.
>PA:ID:MT-300-TFA:CORD:RISO_STOPPED::1:CRC: |  | >AP:ID:MT-300-TFA:CORD:RISO_STOP::1:CRC:#013#010 |  | Stop RISO measurement
|  | >AP:03:MT-300-TFA:STATUS:PHASE_S¦(1.),L_POS¦(2.),MAINS¦(3.):MAINS_STAT | 1. Phase system, 2. Position of L conductor, 3. Mains status | Mains power status
MACHINES
MAIN FUNCTION CALL
>PA:ID:MT-300-TFA:MACH:INIT:(1.):1:CRC:#013#010 | 1. Cable type: "1_P" or "3_P" | >AP:ID:MT-300-TFA:MACH:INITIATED::1:CRC:#013#010 |  | init MACH test, runs mains test and return its result
>PA:ID:MT-300-TFA:MACH:START_RPE::1:CRC:#013#010 |  | >AP:ID:MT-300-TFA:MACH:RPE_STARTED::1:CRC:#013#010 |  | start RPE 30A MACH measurement, when return command is transmitted everithing is set
>PA:ID:MT-300-TFA:MACH:STOP_RPE::1:CRC:#013#010 |  | >AP:ID:MT-300-TFA:MACH:RPE_STOPPED::1:CRC:#013#010 |  | stop RPE 30A MACH measurement
>PA:ID:MT-300-TFA:MACH:START_ALL-PE::1:CRC:#013#010 |  | >AP:ID:MT-300-TFA:MACH:ALL-PE_STARTED::1:CRC:#013#010 |  | start All Phases to PE MACH measurement
|  | >AP:ID:MT-300-TFA:MACH:RISO_ALL-PE¦(1)::1:CRC:#013#010 | 1. Pass | Transmitt MACH All Phases to PE result. When return message is recieved, measurement has finished.
>PA:ID:MT-300-TFA:MACH:START_ONE-PE::1:CRC:#013#010 |  | >AP:ID:MT-300-TFA:MACH:ONE-PE_STARTED::1:CRC:#013#010 |  | start Phases to PE MACH measurement
|  | >AP:ID:MT-300-TFA:MACH:RISO_ONE-PE¦(1),(2)::1:CRC:#013#010 | 1. Pass, 2. Riso one phase to PE fault-s | Transmitt MACH Riso Phases to PE result (up to 4 fault conditions). When return message is recieved, measurement has finished.
>PA:ID:MT-300-TFA:MACH:START_URES:(1.):1:CRC:#013#010 | 1. URES Phase voltage to measure | >AP:ID:MT-300-TFA:MACH:URES_STARTED::1:CRC:#013#010 |  | start dedicated URES measurement, when started is returned all is set
>PA:ID:MT-300-TFA:MACH:URES_OPEN::1:CRC:#013#010 |  | >AP:ID:MT-300-TFA:MACH:URES_OPENED::1:CRC:#013#010 |  | open input contactors at peak input voltage. Return when the contactors are opened.
>MP:01:RCD:EVENT:READY_ON::1:CRC:#013#010
>MP:01:RCD:EVENT:READY_OFF::1:CRC:#013#010
>MP:01:RCD:EVENT:READY_REVERSED::1:CRC:#013#010
>MP:01:RCD:EVENT:START_FAILED::1:CRC:#013#010
>MP:01:RCD:EVENT:BAD_FUSE::1:CRC:#013#010
>MP:01:RCD:EVENT:MESUREMENT_FAILED::1:CRC:#013#010